## SL Surface Irrigation
Small Lysimeter Irrigation Log
Irrigation time is reported as Mountain Standard Time (MST).
Official Irrigation totals will be determined with the end of season water budget process.
| Load Cell Calibration: | 6.198
SL Surface Irrigation Date | Julian Date | Start Time | End Time | Beginning Load Cell (mV/v) | Ending Load Cell (mV/v) | Weight Change (mV/v) | Equivalent Acre-Inch Change | Estimated ET During Irrigation | Gross Irrigation
2022-04-08 | 98 | 10:05 | 11:20 | 2.2792 | 2.962 | 0.6828 | 4.232 | 0.022855 | 4.2548
2022-05-06 | 126 | 9:40 | 10:25 | 2.5907 | 3.0313 | 0.4406 | 2.7308 | 0.012551 | 2.7434
2022-06-09 | 160 | 7:00 | 9:50 | 2.4586 | 4.0852 | 1.6266 | 10.0817 | 0.022829 | 10.1045
2022-08-09 | 221 | 10:35 | 11:40 | 2.6478 | 3.4018 | 0.754 | 4.6733 | 0.022829 | 4.6961
2022-09-14 | 257 | 8:45 | 9:40 | 2.6936 | 2.8848 | 0.1912 | 1.1851 | 0.00056815 | 1.1856
2022-09-14 | 257 | 9:50 | 10:25 | 2.8823 | 3.1389 | 0.2566 | 1.5904 | 0.008858 | 1.5993
2022-10-10 | 283 | 9:40 | 11:00 | 2.6622 | 3.1841 | 0.5219 | 3.2347 | 0.014049 | 3.2488
2022-11-01 | 305 | 8:50 | 9:25 | 2.7261 | 2.956 | 0.2299 | 1.4249 | 0.0047001 | 1.4296

## SL Weight Change
Small Lysimeter Weight Change Log
This log includes dirt work, drainage, harvesting, precipitation, and counter weight adjustment. Please note other records for irrigation.
Time is reported as Mountain Standard Time (MST).
Official weight change totals will be determined with the end of season water budget process.
| Load Cell Calibration: | 6.198
Activity | Date | Julian Date | Start Time | End Time | Beginning Load Cell (mV/v) | Ending Load Cell (mV/v) | Weight Change (mV/v) | Equivalent Acre-Inch (or lbs) Change | Estimated ET During Event | Total Change
Rain/Snow | 2022-03-16 | 75 | 20:15 | 23:55 | 2.3298 | 2.3357 | 0.0059 | 0.036568 | 0.0022726 | 0.038841
Rain/Snow | 2022-03-17 | 76 | 1:45 | 13:30 | 2.3355 | 2.4283 | 0.0928 | 0.57517 | 0.087392 | 0.66257
Rain/Snow | 2022-03-21 | 80 | 6:25 | 23:45 | 2.399 | 2.5654 | 0.1664 | 1.0313 | 0.069831 | 1.1012
Rain | 2022-03-29 | 88 | 16:00 | 20:15 | 2.342 | 2.3667 | 0.0247 | 0.15309 | 0.039512 | 0.1926
Rain | 2022-04-04 | 94 | 4:05 | 6:50 | 2.3167 | 2.3375 | 0.0208 | 0.12892 | 0.0068178 | 0.13574
Rain | 2022-04-24 | 114 | 20:30 | 22:05 | 2.6596 | 2.6646 | 0.005 | 0.03099 | 0.0049067 | 0.035897
Rain | 2022-05-04 | 124 | 16:10 | 18:40 | 2.5318 | 2.6075 | 0.0757 | 0.46919 | 0.0038737 | 0.47306
Rain | 2022-05-05 | 125 | 0:35 | 2:25 | 2.6079 | 2.6145 | 0.0066 | 0.040907 | 0 | 0.040907
Rain | 2022-05-20 | 140 | 21:00 | 0:00 | 2.5945 | 2.6083 | 0.0138 | 0.085532 | 0 | 0.085532
Rain | 2022-05-21 | 141 | 0:00 | 10:05 | 2.6083 | 2.6355 | 0.0272 | 0.16859 | 0.021874 | 0.19046
Rain | 2022-05-23 | 143 | 15:15 | 18:55 | 2.6036 | 2.6239 | 0.0203 | 0.12582 | 0.0068178 | 0.13264
Rain | 2022-05-24 | 144 | 0:05 | 10:00 | 2.6234 | 2.6874 | 0.064 | 0.39667 | 0.015366 | 0.41204
Rain | 2022-06-01 | 152 | 0:05 | 10:30 | 2.5153 | 2.5547 | 0.0394 | 0.2442 | 0.032281 | 0.27648
Rain | 2022-06-06 | 157 | 14:45 | 15:10 | 2.4739 | 2.4913 | 0.0174 | 0.10785 | 0.0069727 | 0.11482
Rain | 2022-06-23 | 174 | 18:15 | 18:30 | 3.4411 | 3.4436 | 0.0025 | 0.015495 | 0.0013171 | 0.016812
Rain | 2022-06-24 | 175 | 23:05 | 23:15 | 3.4086 | 3.4108 | 0.0022 | 0.013636 | 0.00036155 | 0.013997
Rain | 2022-06-26 | 177 | 5:50 | 6:15 | 3.3886 | 3.3895 | 0.0009 | 0.0055782 | 0.0012913 | 0.0068695
Rain | 2022-06-27 | 178 | 4:20 | 10:40 | 3.3749 | 3.4224 | 0.0475 | 0.29441 | 0.035329 | 0.32973
Rain | 2022-06-30 | 181 | 17:35 | 17:55 | 3.3105 | 3.3117 | 0.0012 | 0.0074376 | 0.0014462 | 0.0088838
Rain | 2022-07-01 | 182 | 16:00 | 18:50 | 3.2919 | 3.3419 | 0.05 | 0.3099 | 0.011415 | 0.32131
Rain | 2022-07-03 | 184 | 14:05 | 14:45 | 3.2916 | 3.2927 | 0.0011 | 0.0068178 | 0.0074376 | 0.014255
Rain | 2022-07-06 | 187 | 0:00 | 0:35 | 3.2216 | 3.2268 | 0.0052 | 0.03223 | 0.0010846 | 0.033314
Rain | 2022-07-18 | 199 | 17:30 | 18:15 | 2.9713 | 3.0247 | 0.0534 | 0.33097 | 0.0037188 | 0.33469
Rain | 2022-07-20 | 201 | 15:45 | 16:15 | 2.9533 | 2.9846 | 0.0313 | 0.194 | 0.0044935 | 0.19849
Rain | 2022-07-24 | 205 | 17:10 | 22:30 | 2.854 | 2.9291 | 0.0751 | 0.46547 | 0.021486 | 0.48696
Rain 1 | 2022-07-25 | 206 | 0:10 | 0:55 | 2.9288 | 2.9303 | 0.0015 | 0.009297 | 0.00023242 | 0.0095294
Rain 2 | 2022-07-25 | 206 | 18:55 | 20:35 | 2.9068 | 2.9083 | 0.0015 | 0.009297 | 0.002066 | 0.011363
Rain | 2022-07-26 | 207 | 20:20 | 22:30 | 2.8798 | 2.9467 | 0.0669 | 0.41465 | 0.014772 | 0.42942
Rain | 2022-07-28 | 209 | 21:50 | 24:00 | 2.8824 | 2.8882 | 0.0058 | 0.035948 | 0.00067145 | 0.03662
Rain | 2022-07-29 | 210 | 0:00 | 1:10 | 2.8882 | 2.8904 | 0.0022 | 0.013636 | 0 | 0.013636
Rain | 2022-08-06 | 218 | 16:35 | 17:45 | 2.6478 | 2.702 | 0.0542 | 0.33593 | 0.0068695 | 0.3428
Rain | 2022-08-15 | 227 | 20:20 | 23:20 | 2.9883 | 2.9996 | 0.0113 | 0.070037 | 0.0055782 | 0.075616
Rain 1 | 2022-08-16 | 228 | 0:55 | 1:30 | 2.9989 | 3.0123 | 0.0134 | 0.083053 | 0.00024651 | 0.0833
Rain 2 | 2022-08-16 | 228 | 18:25 | 23:50 | 2.987 | 3.2381 | 0.2511 | 1.5563 | 0.0033572 | 1.5597
Rain | 2022-08-17 | 229 | 0:35 | 0:50 | 3.238 | 3.2387 | 0.0007 | 0.0043386 | 0 | 0.0043386
Rain 1 | 2022-08-26 | 238 | 15:50 | 16:40 | 2.9629 | 2.9955 | 0.0326 | 0.20205 | 0.0043903 | 0.20645
Rain 2 | 2022-08-26 | 238 | 18:50 | 19:30 | 2.9944 | 2.9992 | 0.0048 | 0.02975 | 0.0008264 | 0.030577
Rain | 2022-08-31 | 243 | 19:35 | 20:25 | 2.8589 | 2.9244 | 0.0655 | 0.40597 | 0.007231 | 0.4132
Rain | 2022-09-02 | 245 | 21:05 | 21:35 | 2.8611 | 2.889 | 0.0279 | 0.17292 | 0.0026342 | 0.17556
Rain | 2022-09-03 | 246 | 0:40 | 2:35 | 2.8864 | 2.8919 | 0.0055 | 0.034089 | 0.0071277 | 0.041217
Rain | 2022-09-10 | 253 | 10:55 | 18:40 | 2.7261 | 2.734 | 0.0079 | 0.048964 | 0.0072052 | 0.056169
Rain 1 | 2022-09-21 | 264 | 21:45 | 22:25 | 2.9757 | 2.9813 | 0.0056 | 0.034709 | 0.0008264 | 0.035535
Rain 2 | 2022-09-21 | 264 | 23:35 | 24:00 | 2.9809 | 2.9819 | 0.001 | 0.006198 | 0 | 0.006198
Rain | 2022-09-22 | 265 | 0:15 | 0:40 | 2.9818 | 2.9829 | 0.0011 | 0.0068178 | 0 | 0.0068178
Rain | 2022-10-24 | 297 | 10:20 | 11:10 | 2.7871 | 2.7892 | 0.0021 | 0.013016 | 0.0025825 | 0.015598
Snow | 2022-11-14 | 318 | 5:50 | 7:40 | 2.801 | 2.8052 | 0.0042 | 0.026032 | 0 | 0.026032
Snow | 2022-11-18 | 322 | 0:30 | 8:50 | 2.7906 | 2.7973 | 0.0067 | 0.041527 | 0 | 0.041527
Fertilizer with Water | 2022-05-04 | 124 | 8:55 | 9:00 | 2.5316 | 2.5417 | 0.0101 | 0.0626 | 0.0008264 | 0.063426
Fertilizer with Water | 2022-06-07 | 158 | 8:55 | 9:00 | 2.4799 | 2.4915 | 0.0116 | 0.071897 | 0.00080057 | 0.072697
Drain | 2022-03-28 | 87 | 9:30 | 10:25 | 2.5084 | 2.3574 | -0.151 | -0.9359 | 0.0019885 | -0.93391
Drain | 2022-06-09 | 160 | 12:35 | 12:50 | 4.0792 | 3.9602 | -0.119 | -0.73756 | 0.0062755 | -0.73129
Drain | 2022-07-12 | 193 | 7:10 | 7:40 | 3.3549 | 3.2043 | -0.1506 | -0.93342 | 0.0063529 | -0.92707
Drain | 2022-08-12 | 224 | 10:15 | 10:40 | 3.2887 | 3.1245 | -0.1642 | -1.0177 | 0.0089096 | -1.0088
Drain* | 2022-09-23 | 266 | 7:00 | 8:20 | 2.9742 | 2.8851 | -0.0891 | -0.55224 | 0.0045452 | -0.5477
Drain | 2022-10-24 | 297 | 9:30 | 9:55 | 2.9458 | 2.7877 | -0.1581 | -0.9799 | 0.00025825 | -0.97965
1st Cutting | 2022-06-03 | 154 | 7:25 | 7:50 | 2.524 | 2.5217 | -0.0023 | -0.014255 | 0.00064562 | -0.01361
2nd Cutting | 2022-09-12 | 255 | 12:20 | 12:50 | 2.7102 | 2.7056 | -0.0046 | -0.028511 | 0.0041836 | -0.024327
Unknown weight gain, lost | 7/6 - 7/7 | 187 - 188 | 4:40 | 4:35 | 3.2259 | 3.569
data between 7/6/22 and
7/7/22. Rain occurred also
during this time.
*Drain on 9/23/22: Drain occurred in conjuction with a drainage load cell replacement.

## SL Crop Height and Development
Small Lysimeter Plant Height
Inches | 2022-05-04 | 2022-05-13 | 2022-05-26 | 2022-05-31 | 2022-06-16 | 2022-06-24 | 2022-07-06 | 2022-07-27 | 2022-08-03 | 2022-08-30 | 2022-09-10 | 2022-09-12 | 2022-09-27 | 2022-10-17
Exterior | 10 | 18 | 33 | 5 | 8 | 9 | 10 | 12 | 12 | 12 | 5 | 5 | 5 | 4
RL Surface | 9 | 16 | 24 | 24 | 8 | 9 | 10 | 12 | 12 | 12 | 12 | 5 | 6 | 4
*Problem Area | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
*See Lysimeter Narrative Log for explanation.

## SL Harvest
Small Lysimeter Harvest
SL Bulk-Field Acres: | 9
SL Surface Acres: | 0.00057847
SL Surface Area: 25.198 ft2 = 2.341 m2 = 0.000578466483 acres = 0.0002341 Hectare
Bulk Field | Tons | Bales | lbs/Bale | Tons/Acre
2022-05-31 |  |  |  | 0 | 0
2022-09-10 |  |  |  | 0 | 0
SL Surface | Wet Weight (lbs) | Dry Weight (Lbs)** | Tons | Tons/Acre
2022-06-03 | 1.95 | 0.75 | 0.000375 | 0.64827
2022-09-12 | 2.5 | 1.2 | 0.0006 | 1.0372
** Air dried in greenhouse.
Bulk yield data is per Kevin Tanabe.

## SL Chemical - Seed - Fertilizer
Small Lysimeter Chemical, Seed, and Fertilizer Application Log
SL Surface Date | Bulk Field Date | Product | Type | Rate | Comments
2022-05-04 | n/a | Fertilizer | 24-8-16 Miracle Grow | 10.8 grams (10 lbs/acre of N) | Product and rate recommended by Dr. Mike Bartolo.
2022-06-07 | n/a | Fertilizer | 24-8-16 Miracle Grow | 16.2 grams | 150% of previous rate appled, due to lack of response.
2022-06-11 | 2022-06-11 | Herbicide | 2,4-D and Strut | 10oz and 1 pint per acre, respectively
2022-07-12 | n/a | Fertilizer | 24-8-16 Miracle Grow | 16.2 grams
n/a | 2022-08-16 | Herbicide | Nufarm E-2 | Hand-Sprayed | Spot sprayed by Dr. Mike Bartolo. Small patch of Milkweed
between the hatch and SL surface.

## SL Water Samples
Small Lysimeter Water Samples
Irrigation Conductivity
| micro Siemens per cm | deci Siemens per meter
Date | µS/cm | dS/m
Drainage Conductivity
| milli Siemens per cm | deci Siemens per meter
Date | mS/cm | dS/m
1 dS/m = 1000 µS/cm
1mS/cm = 1000 µS/cm
Per Allan Andales:
"The salt tolerance (threshold) level of alfalfa that is reported in the literature is 2.0 deci-S/m (EC of saturated extract from the soil) or 1.3 deci-S/m (EC of irrigation water)."
Per Mike Bartolo:
"Normal conductivity when the river is high is 800-900 µS/cm."
d = deci = 0.1
c = centi = 0.01
m = milli = 0.001
µ = micro = 0.000001

## SL Sensor Coefficients
Small Lysimeter Sensor Calibration Coefficients
For use with SL sensors used during the 2022 growing season.
Sensor | Serial # | Spreadsheet Column | New CC | Units | Install Date | Notes
Epply PSP | 34253F3 | T | 125.47 | Watts/m-2 per Millivolt | 2015-03-27
LI-200 | PY76289 | U | 200 | Watts/m-2 per Millivolt | 2019-05-13 | FIXED CALIBRATION
LI-190 | Q34768 | V | 322.17 | µmol m-2 s-1 per Millivolt | 2019-05-13
Q7 | Q04125 | W | 10.4 | Watts/m-2 per Millivolt | 2019-05-13 | + Wind
Q7 | Q04125 | W | 13.14 | Watts/m-2 per Millivolt | 2019-05-13 | - Wind
Heat Flux 1 | H073227 | X | 34.7 | Watts/m-2 per Millivolt | 2010-08-17
Heat Flux 2 | H073225 | Y | 40.6 | Watts/m-2 per Millivolt | 2010-08-17
Heat Flux 3 | H073224 | Z | 38.9 | Watts/m-2 per Millivolt | 2010-08-17
Heat Flux 4 | H073226 | AA | 36 | Watts/m-2 per Millivolt | 2010-08-17